Job Hazard Analysis

| Task/Equipment: | Reinstalling Burner Summer Boiler |
| --- | --- |
| Department: | Powerhouse |
| Analyzed By: | Bill Partin & Bryana Borders |
| Date: | 4/12/19 |

Personal Protective Equipment Required:

Insert Picture of Task

Hard Hat

Heavy Leather Gloves

Trainings Required*/Recommended:

Proper Ladder Use*, OSHA10

Equipment/Tools/Chemicals Required for the Job:

Hand wrench, washers, nuts, pipe wrenches, screw driver, ladder, flashlight

| Tasks/Steps | Hazards Present | Safety Measures and Controls |
| --- | --- | --- |
| - Remove caution tape | No Hazards Present | N/A |
| - Move burner along support-rail frame | Falling object | Do not go underneath the burner |
| - Remount burner muffler | Falling object | Do not go underneath the burner |
| - Replace clamps washers and hex nuts and secure | Finger pinch | Use Heavy leather gloves |
| - Reinstall burner support stanchion | Falling objects | Do not go underneath the burner |
| - Reinstall gas recirculating piping | No Hazards present | N/A |
| - Reconnect main gas line at union | No Hazards present | N/A |
| - Reinstall gas pressure safety switch | No Hazards present | N/A |
| - Reinstall main flame scanner | No Hazards present | N/A |
| - Reinstall gas pilot lines | No Hazards present | N/A |
| - Reinstall vent lines | No Hazards present | N/A |

Additional Information:

- This is a two person task

Lab Coat

Protection Suit

Fall Protection Harness

High Vis Vest

Safety Shoes

Splash Goggles

Cryogenic Gloves

Dust Mask

Respirator

Face Shield

Safety Glasses

Ear Protection