Job Hazard Analysis

| Task/Equipment: | Servicing Supply and Exhaust Units in Chiller Room |
| --- | --- |
| Department: | Powerhouse |
| Analyzed By: | Bill Partin & Bryana Borders |
| Date: | 4/23/19 |

Personal Protective Equipment Required:

Heavy Leather Gloves

Ear Protection

Hard Hat

Trainings Required*/Recommended:

Ladder Training*, OSHA 10

Equipment/Tools/Chemicals Required for the Job:

Hand tool, garden hose, grease gun

| Tasks/Steps | Hazards Present | Safety Measures and Controls |
| --- | --- | --- |
| Climb enclosed ladder located in chiller room onto roof | Ladder fall | Enclosed ladder in place and follow ladder safety protocol |
| Open power disconnects to both exhaust and supply units and lock out | No hazards present | N/A |
| Remove covers from both exhaust and supply units and set aside | Finger cuts and abrasions | Use heavy leather gloves |
| Remove filters from filter bank of supply unit | Finger cuts and abrasions | Wear heavy leather gloves |
| tension drive belts on both units | Finger pinch | Wear heavy leather gloves |
| Grease motor and bearings and test for bearing wear | Finger pinch | Wear heavy leather gloves |
| Use a garden hose to wash filters and return to filter bank | No hazards present | N/A |
| Replace covers on both supply and return units and secure | Finger pinch | Wear heavy leather gloves |
| Remove lock out equipment and power up units and test operation | No hazards present | N/A |

Additional Information:

Lab Coat

Protection Suit

Fall Protection Harness

High Vis Vest

Safety Shoes

Splash Goggles

Cryogenic Gloves

Dust Mask

Respirator

Face Shield

Safety Glasses